## SEM SCADA
Format-1M
Difference in SEM - SCADA |  |  |  | Month : May-15
Date | Telemetered Data ( LUs) | SEM Data( LUs) | Difference (LUs) | Steps taken to improve the data collection/telemetred data
2015-05-01 | -4.14 | -17.24 | -13.1 | The matter regarding the difference between SEM-SCADA data is taken up with PSTCL as the maintenance of RTU drwal points of Punjab Control Area falls under the preview of PSTCL.
2015-05-02 | -5.09 | -22 | -16.91
2015-05-03 | -11.39 | -30.52 | -19.13
2015-05-04 | -13.07 | -27.32 | -14.25
2015-05-05 | -11.62 | -12.57 | -0.95
2015-05-06 | -13.14 | -10.12 | 3.02
2015-05-07 | 11.24 | 19.57 | 8.33
2015-05-08 | 11.91 | -1.28 | -13.19
2015-05-09 | -15.81 | 27.1 | 42.91
2015-05-10 | -7.66 | -5 | 2.66
2015-05-11 | -30.95 | -43.26 | -12.31
2015-05-12 | -11.7 | -36.47 | -24.77
2015-05-13 | -9.37 | -20.89 | -11.52
2015-05-14 | -7.33 | -19.52 | -12.19
2015-05-15 | -10.21 | -27.43 | -17.22
2015-05-16 | -0.57 | -25.98 | -25.41
2015-05-17 | 0.85 | 7.46 | 6.61
2015-05-18 | 1.71 | -25.69 | -27.4
2015-05-19 | -8.92 | -37.57 | -28.65
2015-05-20 | -9.69 | -40.5 | -30.81
2015-05-21 | -3.89 | -4.63 | -0.74
2015-05-22 | -4.86 | -2.78 | 2.08
2015-05-23 | -12.25 | -14.87 | -2.62
2015-05-24 | -2.1 | -8.9 | -6.8
2015-05-25 | -17.45 | -10.74 | 6.71
2015-05-26 | -15.01 | -11.7 | 3.31
2015-05-27 | -3.34 | 10.82 | 14.16
2015-05-28 | -8.15 | -3.6 | 4.55
2015-05-29 | -5.82 | 5.58 | 11.4
2015-05-30 | 7.2 | 22.75 | 15.55
2015-05-31 | -15.49 | 11.53 | 27.02
Total | -226.11 | -355.77 | -129.66

## UI Detail
FORMAT-2M
Daily Time Block Wise UI Injection/Drawl | [6 empty] | 2015-05-01
UI(-ve injected, +ve Drawl)
Time Blocks | 2015-05-01 | 2015-05-02 | 2015-05-03 | 2015-05-04 | 2015-05-05 | 2015-05-06 | 2015-05-07 | 2015-05-08 | 2015-05-09 | 2015-05-10 | 2015-05-11 | 2015-05-12 | 2015-05-13 | 2015-05-14 | 2015-05-15 | 2015-05-16 | 2015-05-17 | 2015-05-18 | 2015-05-19 | 2015-05-20 | 2015-05-21 | 2015-05-22 | 2015-05-23 | 2015-05-24 | 2015-05-25 | 2015-05-26 | 2015-05-27 | 2015-05-28 | 2015-05-29 | 2015-05-30 | 2015-05-31
| Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus | Lus
0000-0015 | -1.3 | -0.54 | -0.17 | -1.43 | -0.9 | -0.26 | -0.35 | -0.46 | 0.85 | -1.02 | -1.49 | 0.11 | -0.78 | 0.21 | -0.7 | -0.39 | -0.23 | -0.69 | -1.03 | -0.35 | -0.2 | 0.21 | 0.12 | -0.59 | -0.32 | -0.09 | 0.25 | 0.76 | 0.46 | 0.26 | 0.37
0015-0030 | -1.09 | -0.54 | -0.11 | -1.06 | -0.68 | -0.59 | -0.29 | -0.84 | 0.14 | -1.42 | -1.35 | 0.12 | -0.44 | -0.66 | -0.63 | -0.16 | 0.01 | -0.67 | -0.49 | -0.48 | -0.39 | 0.07 | 0.04 | -0.42 | -0.35 | -0.21 | 0.02 | 0.03 | -0.01 | 0.05 | -0.05
0030-0045 | -0.61 | -0.49 | -0.53 | -1.12 | -0.53 | -0.55 | -0.3 | -0.29 | -1.22 | -0.62 | -1.21 | 0.2 | -0.57 | -0.39 | -0.46 | -0.24 | 0.05 | -0.7 | -0.65 | -0.65 | -0.25 | -0.17 | 0.12 | -0.51 | -0.32 | -0.37 | 0.07 | 0.39 | -0.45 | 0.15 | 0.28
0045-0100 | -0.22 | -0.4 | -0.28 | -0.94 | -0.44 | -0.43 | -0.28 | 0.18 | -0.41 | 0.05 | -0.74 | 0.14 | -0.53 | -0.27 | -0.44 | -0.5 | -0.03 | -0.52 | -0.72 | -0.57 | -0.47 | -0.15 | -0.06 | -0.42 | -0.32 | -0.6 | 0 | 0.45 | 0.1 | 0.2 | 0.41
0100-0115 | 0.17 | -0.35 | -0.2 | -0.71 | -0.41 | -0.48 | -0.34 | 0.56 | -0.17 | -0.27 | -1.1 | -0.01 | -0.61 | -0.26 | -0.41 | -0.5 | 0.03 | -0.27 | -0.57 | -0.75 | -0.54 | -0.05 | 0.12 | -0.27 | -0.39 | -0.62 | 0.05 | 0.3 | 0.35 | -0.07 | -0.12
0115-0130 | 0.19 | -0.31 | -0.32 | -0.63 | -0.28 | -0.59 | -0.53 | -0.1 | -0.22 | -0.15 | -0.88 | -0.02 | -0.64 | -0.23 | 0.23 | -0.64 | 0.02 | -0.31 | -0.44 | -0.71 | 0.02 | -0.04 | 0.13 | -0.28 | -0.39 | -0.45 | 0.03 | 0.17 | 0.07 | -0.06 | -0.33
0130-0145 | 0.1 | -0.22 | -0.42 | -0.73 | -0.09 | -0.61 | -0.39 | 1.51 | -0.47 | 1.12 | -0.79 | 0.17 | -0.63 | -0.25 | 0.26 | -0.61 | -0.02 | -0.22 | -0.27 | -0.76 | 0.29 | -0.01 | 0.1 | -0.2 | -0.29 | -0.31 | 0.18 | -0.1 | -0.54 | 0.15 | -0.02
0145-0200 | 0.18 | -0.34 | -0.54 | -0.81 | -0.06 | -0.35 | -0.29 | 0.17 | -0.36 | -0.36 | -1.07 | -0.35 | -0.72 | -0.32 | 0.56 | -0.63 | -0.06 | -0.18 | -0.15 | -0.9 | 0.34 | -0.16 | -0.19 | -0.07 | -0.26 | -0.28 | 0.27 | -0.11 | -0.7 | 0.16 | 0.15
0200-0215 | -0.01 | -0.32 | -0.36 | -0.63 | -0.2 | -0.54 | 0.11 | 0.07 | -0.48 | -0.47 | -0.98 | -0.46 | -0.36 | -0.3 | 0 | -0.59 | 0.04 | -0.16 | 0.07 | -0.8 | 0.5 | -0.06 | 0.07 | -0.01 | -0.31 | -0.36 | 0.49 | 0.22 | -0.22 | 0.17 | -0.04
0215-0230 | -0.16 | -0.34 | -0.28 | -0.46 | -0.2 | -0.47 | -0.04 | 0.53 | -0.59 | -0.56 | -0.74 | -0.48 | -0.49 | -0.23 | -0.32 | -0.56 | -0.01 | -0.21 | -0.04 | -0.85 | 0.23 | -0.02 | 0.05 | -0.19 | -0.36 | -0.2 | 0.59 | 0.31 | -0.18 | 0.39 | -0.22
0230-0245 | -0.32 | -0.37 | -0.34 | -0.76 | -0.11 | -0.24 | -0.1 | -0.05 | -0.2 | -0.46 | -0.8 | -0.47 | -0.27 | -0.37 | -0.63 | -0.57 | -0.03 | -0.1 | -0.04 | -0.96 | 0.06 | 0.03 | 0.09 | -0.18 | -0.39 | 0.06 | 0.34 | 0.55 | 0 | 0.51 | -0.29
0245-0300 | -0.15 | -0.49 | -0.37 | -0.91 | -0.22 | -0.32 | -0.16 | -0.12 | -0.03 | -0.19 | -0.66 | -0.43 | 0 | -0.46 | -0.44 | -0.66 | -0.04 | -0.02 | -0.15 | -1.03 | -0.06 | 0 | 0.08 | -0.17 | -0.5 | -0.1 | -0.11 | 0.55 | -0.1 | 0.51 | -0.26
0300-0315 | -0.06 | -0.55 | -0.46 | -0.7 | -0.32 | -0.45 | -0.13 | -0.31 | -0.08 | -0.01 | -0.52 | -0.34 | -0.11 | -0.19 | -0.36 | -0.71 | 0 | 0.07 | -0.04 | -1.11 | 0.02 | 0.02 | -0.14 | -0.22 | -0.52 | -0.2 | 0.26 | 0.68 | -0.15 | 0.56 | 0.13
0315-0330 | -0.1 | -0.51 | -0.51 | -0.65 | -0.3 | -0.24 | 0.92 | -0.09 | -0.13 | 0.12 | -0.46 | -0.3 | -0.25 | 0.01 | -0.18 | -0.75 | 0.03 | -0.06 | -0.02 | -1.08 | 0.04 | 0.02 | 0.09 | -0.38 | -0.49 | -0.27 | 0.37 | 0.55 | -0.17 | 0.51 | 1.1
0330-0345 | -0.11 | -0.48 | -0.03 | -0.65 | -0.15 | 0.14 | -0.03 | -0.97 | -0.4 | -0.23 | -0.74 | -0.16 | -0.51 | -0.02 | -0.28 | -0.72 | -0.11 | -0.25 | -0.32 | -1.29 | 0.21 | 0.16 | 0.14 | -0.45 | -0.56 | -0.36 | 0.3 | 0.48 | -0.39 | 0.44 | 1.27
0345-0400 | -0.19 | -0.18 | -0.53 | -0.51 | -0.04 | 0.14 | -0.45 | -0.12 | -0.29 | -0.52 | -0.83 | -0.06 | -0.31 | 0.01 | -0.41 | -0.65 | -0.24 | -0.4 | -0.43 | -1.06 | 0.14 | 0.3 | 0.19 | -0.42 | -0.49 | -0.3 | 0.33 | 0.32 | -0.46 | 0.42 | 1.4
0400-0415 | -0.57 | -0.36 | -0.24 | -0.51 | -0.24 | 0.02 | 0.32 | 0.21 | -0.45 | -0.33 | -0.87 | -0.59 | -0.22 | -0.04 | -0.65 | -0.71 | -0.31 | -0.51 | -0.82 | -0.91 | 0.26 | 0.08 | 0.11 | -0.32 | -0.27 | -0.4 | 0.36 | 0.6 | -0.59 | 0.38 | 1.49
0415-0430 | -0.47 | -0.25 | -0.15 | -0.38 | -0.17 | 0.33 | 0.03 | 0.26 | -0.49 | 0.04 | -1.06 | -0.63 | -0.25 | -0.05 | -0.59 | -0.76 | -0.39 | -0.64 | -0.94 | -0.99 | 0.31 | -0.21 | -0.13 | -0.39 | -0.05 | -0.44 | 0.25 | 0.35 | -0.65 | 0.32 | 1.24
0430-0445 | -0.44 | -0.17 | -0.04 | -0.72 | -0.07 | 0.22 | 0.39 | -0.11 | 0.12 | 0.44 | -1.13 | -0.58 | 0.08 | 0.03 | -0.75 | -0.81 | -0.37 | -0.68 | -0.96 | -1.05 | 0.19 | -0.44 | -0.27 | -0.43 | -0.09 | -0.36 | 0.1 | 0.01 | -1.05 | 0.12 | 1.09
0445-0500 | -0.44 | -0.09 | -0.02 | -0.74 | -0.08 | 0.14 | 0.36 | -0.16 | 0.2 | -0.02 | -1.24 | -0.59 | 0.13 | 0.16 | -0.8 | -0.78 | -0.2 | -0.35 | -0.54 | -0.94 | 0.22 | -0.1 | 0.07 | -0.35 | 0.01 | -0.12 | 0.28 | 0.18 | -0.93 | 0.13 | 1
0500-0515 | -0.76 | -0.07 | -0.06 | -0.4 | -0.26 | 0.45 | 0 | -0.25 | 0.06 | 0.55 | -0.99 | -0.41 | -0.45 | -0.54 | -0.6 | -0.79 | -0.05 | -0.34 | -0.28 | -1.02 | 0.43 | -0.3 | 0.25 | -0.5 | 0.24 | -0.9 | -0.42 | -0.22 | -0.89 | -0.14 | 0.6
0515-0530 | -0.66 | 0.03 | 0.22 | -0.16 | -0.39 | 0.81 | 0.32 | -0.06 | -0.12 | 0.64 | -0.76 | 0.13 | -0.71 | -0.71 | -0.68 | -0.83 | -0.04 | -0.3 | -0.09 | -1.22 | 0.19 | -0.43 | -0.75 | -0.25 | 0.43 | -0.76 | -0.51 | -0.02 | -0.71 | -0.29 | 0.33
0530-0545 | -0.97 | 0.35 | 0.44 | -0.15 | -0.52 | 1.11 | 0.24 | 0.02 | -0.18 | 0.25 | -0.56 | 0.35 | -0.73 | -0.21 | -0.76 | -0.84 | -0.41 | -0.13 | 0.08 | -0.91 | 0.15 | -0.36 | -0.7 | -0.46 | -0.04 | -0.81 | -0.47 | -0.01 | -0.47 | -0.35 | 0.28
0545-0600 | -0.97 | 0.53 | 0.37 | -0.07 | -0.37 | 1.23 | 0.32 | 0.19 | -0.02 | -0.01 | 0.19 | 0.13 | -0.51 | 0.38 | -0.12 | -0.92 | -0.3 | -0.06 | 0.34 | -0.45 | 0.34 | -0.01 | -0.47 | -0.41 | 0 | -0.33 | 0 | -0.03 | 0.05 | 0.32 | 0.29
0600-0615 | -1.24 | 0.36 | 0.17 | -0.24 | -0.25 | 1.37 | 0.44 | 0.26 | -0.13 | 0.41 | 0.22 | -0.28 | -0.83 | 0.22 | 0.18 | -1.22 | -0.51 | -0.24 | -0.25 | -0.41 | -0.52 | -0.58 | -0.14 | -0.99 | -0.34 | -0.1 | 0.33 | -0.26 | 0.13 | 0.17 | 0.21
0615-0630 | -0.87 | 0.08 | 0.22 | -0.09 | -0.16 | 1.09 | -0.06 | 0.18 | -0.19 | 0.47 | -0.48 | 0 | 0.28 | -0.61 | -0.52 | -1.21 | 0 | -0.32 | -0.45 | -0.38 | -0.58 | -0.37 | 0.12 | -0.3 | -0.23 | 0.15 | 0.63 | -0.18 | 0.28 | 0.19 | 0.55
0630-0645 | -0.36 | -0.35 | 0.39 | 0.2 | -0.24 | -1.56 | -0.7 | 0.05 | -0.12 | -0.22 | -0.52 | 0.24 | 0.64 | -0.7 | -0.52 | -1.17 | 0.01 | 0.19 | -0.46 | -0.64 | -0.34 | -0.07 | -0.32 | 0.08 | 0.5 | -0.25 | 0.35 | 0.05 | 0.57 | 0.52 | 0.86
0645-0700 | 0.21 | -0.2 | 0.58 | 0.2 | -0.25 | -1.49 | -0.41 | 0.51 | 0.01 | -0.17 | -0.55 | 0.07 | 0.26 | -0.59 | -0.42 | -1.16 | -0.05 | -0.1 | -0.24 | -0.7 | 0.03 | 0.14 | -0.42 | 0.1 | 0.48 | -0.1 | 0.36 | -0.08 | 0.49 | 0.67 | 1.05
0700-0715 | 0.15 | 0.04 | 0.74 | 0.32 | -0.11 | 0.11 | 0.39 | 0.3 | -1.22 | 0.25 | -0.67 | 0.12 | 0.21 | -0.78 | -0.19 | -1.05 | 0.16 | 0.1 | 0.09 | -0.63 | -0.2 | 0.02 | 0.1 | -0.46 | 0.32 | 0.05 | 0.28 | -0.63 | 0.29 | 0.5 | 0.54
0715-0730 | -0.23 | 0.2 | 0.6 | 0.17 | 0.01 | -0.12 | 0.09 | 0.18 | -0.65 | 0.4 | -0.49 | -0.32 | 0.67 | -0.7 | -0.17 | -0.96 | 0.21 | -0.17 | 0.26 | -0.72 | -0.36 | 0.19 | 0.47 | -0.35 | 0.46 | 0.11 | 0.35 | -0.71 | 0.28 | 0.39 | 0.36
0730-0745 | -0.27 | 0.14 | 0.6 | 0.06 | 0.06 | -0.46 | -0.01 | -0.65 | 0.2 | -0.3 | -0.32 | -0.54 | 1.01 | -0.54 | -0.36 | -0.99 | 0.22 | -0.34 | 0.21 | -0.87 | -0.48 | 0.18 | 0.34 | -0.15 | 0.4 | 0.28 | 0.31 | -0.8 | 0.37 | 0.47 | 0.51
0745-0800 | -0.4 | -0.2 | 0.5 | 0 | -0.17 | -0.41 | 0.34 | -0.8 | 0.21 | -0.4 | -0.18 | -0.43 | -0.03 | -0.02 | -0.74 | -0.9 | 0.04 | -0.33 | -0.1 | -0.8 | -0.35 | 0.14 | -0.2 | -0.08 | 0.33 | 0.32 | 0.27 | -0.82 | 0.33 | 0.52 | 0.5
0800-0815 | -0.18 | -0.09 | 0.56 | 0.23 | 0.58 | 0.27 | 0.98 | 0.74 | 0.38 | 0.23 | 0.13 | -0.4 | -0.24 | 0.44 | -0.4 | -0.51 | 0.42 | -0.4 | -0.28 | -0.99 | -0.35 | -0.22 | 0 | 0.32 | 0.47 | 0.26 | 0.26 | -0.92 | 0.56 | 0.66 | 0.79
0815-0830 | 0.05 | 0.01 | 0.36 | 0.31 | 0.33 | 0.31 | 0.17 | -0.21 | -0.28 | 0.2 | -1.17 | -0.13 | -0.87 | 0.47 | -0.38 | -0.3 | 0.52 | -0.09 | -0.05 | -0.69 | -0.06 | -0.15 | 0.14 | 0.32 | 0.57 | 0.04 | 0.13 | -0.36 | 0.47 | 0.46 | 0.27
0830-0845 | 0.3 | 0.17 | 0.63 | 0.29 | 0.24 | 0.48 | 0.1 | -0.35 | -0.59 | -0.49 | -0.9 | -0.15 | -1.33 | 0.52 | -0.21 | -0.45 | 0.47 | -0.35 | 0.07 | -0.37 | 0.08 | 0 | 0.23 | 0.12 | 0.57 | -0.15 | 0.02 | 0.12 | 0.17 | 0.28 | -0.11
0845-0900 | 0.38 | 0.23 | 0.15 | 0.2 | 0.11 | 0.07 | 0.33 | -0.17 | -0.23 | -0.38 | -0.79 | 0.08 | -0.84 | 0.45 | 0.08 | -0.58 | 0.44 | 0.04 | -0.19 | -0.4 | 0.11 | -0.08 | 0.18 | 0.11 | 0.39 | -0.4 | -0.02 | 0.31 | -0.06 | 0.44 | 0.15
0900-0915 | 0.47 | 0.01 | -0.14 | 0.54 | 0.35 | -0.57 | 0.26 | 0.43 | -0.2 | 0.26 | -0.97 | -0.2 | -0.4 | 0.2 | 0.02 | -0.21 | 0.48 | 0.03 | -0.11 | -0.11 | 0.33 | 0.05 | 0.12 | 0.24 | 0.74 | -0.57 | 0.45 | 0.37 | -0.07 | 0.46 | 0.56
0915-0930 | 0.41 | -0.07 | -0.28 | 0.06 | 0.29 | 0.15 | 0.06 | 0.45 | 0.24 | -0.16 | -0.38 | 0.02 | -0.27 | 0.24 | 0.32 | -0.07 | 0.41 | -0.08 | -0.15 | -0.36 | 0.24 | -0.05 | 0.18 | 0.13 | 0.13 | -0.53 | 0.43 | 0.15 | 0.01 | 0.39 | 0.75
0930-0945 | 0.11 | -0.48 | -0.88 | -0.17 | -0.09 | 0.01 | 0.24 | 0.5 | 0.48 | -0.23 | 0.04 | 0.03 | -0.23 | 0.2 | -0.14 | -0.04 | 0.16 | 0.31 | -0.36 | -0.73 | -0.08 | -0.03 | -0.03 | 0.06 | 0.18 | -0.58 | 0.33 | 0.13 | 0.21 | 0.28 | 0.76
0945-1000 | -0.08 | -0.36 | -0.85 | -0.3 | 0.11 | -0.03 | 0.23 | 0.06 | 0.22 | -0.29 | 0.19 | -0.17 | -0.29 | -0.25 | -0.38 | -0.1 | 0.03 | -0.29 | -0.52 | -0.69 | -0.05 | 0.07 | -0.13 | 0.37 | 0.13 | -0.36 | 0.44 | 0.07 | 0.14 | 0.33 | 0.68
1000-1015 | -0.02 | -0.86 | -1.45 | -0.32 | 0.51 | -0.23 | 0.33 | 0.09 | 0.13 | -0.14 | 0.27 | -0.37 | -0.1 | -0.41 | 0.2 | -0.27 | -0.12 | -0.55 | -0.36 | -0.75 | -0.01 | 0.23 | -0.09 | 0.37 | -0.09 | 0.22 | 0.28 | 0.05 | 0.05 | 0 | 0.5
1015-1030 | -0.31 | -1.19 | -1.34 | -0.21 | 0.26 | -0.58 | 0.03 | -0.04 | 0.03 | -0.03 | 0.43 | -0.61 | -0.17 | -0.91 | 0.15 | -0.36 | 0 | -0.5 | -0.28 | -0.81 | -0.02 | 0.3 | 0.17 | 0.16 | -0.23 | 0.14 | 0.04 | 0.07 | -0.49 | -0.17 | 0.67
1030-1045 | -0.3 | -1.16 | -1.17 | -0.09 | -0.38 | -0.53 | 0.24 | 0.66 | 0.13 | 0.2 | 0.16 | -0.61 | -0.15 | -0.75 | 0.39 | -0.18 | 0.42 | -0.43 | -0.02 | -0.53 | 0.18 | 0.12 | -0.01 | 0.07 | -0.23 | 0.07 | -0.02 | 0.01 | -0.1 | -0.35 | 0.56
1045-1100 | -0.04 | -1.03 | -0.69 | -0.02 | -0.31 | -0.4 | 0.68 | -0.11 | 0.15 | 0.35 | -0.04 | -0.54 | -0.22 | -0.61 | 0.38 | 0.03 | 0.5 | -0.23 | -0.15 | -0.44 | 0.35 | 0.19 | -0.03 | 0.1 | -0.31 | 0.06 | 0.05 | -0.13 | 0.2 | -0.06 | 0.45
1100-1115 | -0.02 | 0.19 | -0.38 | -0.2 | 0.48 | -0.13 | 0.29 | -0.02 | -0.31 | -0.59 | -0.48 | -0.81 | -0.6 | -0.88 | 0.16 | -0.25 | -0.14 | -0.39 | -0.77 | -0.57 | -0.07 | 0.13 | -0.06 | -0.18 | -0.07 | -0.11 | 0.1 | -0.5 | 0.2 | 0.17 | 0.72
1115-1130 | -0.15 | 0.47 | -0.6 | -0.27 | 0.66 | -0.02 | 0.15 | 0.18 | -0.55 | -0.24 | -0.38 | -0.84 | -0.47 | -0.94 | -0.14 | -0.3 | -0.29 | -0.56 | -0.71 | -0.23 | -0.39 | 0.11 | 0.14 | -0.37 | -0.11 | -0.15 | -0.06 | -0.31 | -0.13 | 0.57 | 0.93
1130-1145 | -0.45 | 0.75 | -1.01 | -0.24 | 0.56 | -0.17 | 0.29 | 0 | -0.04 | -0.57 | -1.08 | -0.72 | 0.02 | -0.77 | -0.07 | -0.28 | -0.47 | -0.64 | -0.53 | -0.26 | -0.54 | -0.13 | -0.51 | -0.76 | -0.92 | -0.21 | -0.95 | -0.53 | -0.64 | 0.03 | 0.05
1145-1200 | -0.43 | 0.27 | -1.04 | -0.18 | 0.43 | -0.21 | 0.44 | -0.32 | 0.26 | -0.18 | -1.51 | -0.25 | 0.18 | -0.52 | 0.04 | -0.18 | -0.12 | -0.19 | -0.03 | -0.16 | -0.2 | -0.12 | -0.2 | -0.49 | -0.38 | -0.16 | -0.3 | -0.14 | -0.29 | 0.01 | -0.11
1200-1215 | -0.06 | -0.63 | -0.82 | -0.27 | 0.5 | -0.03 | 0.72 | 0.4 | 0.46 | -0.16 | -0.39 | -0.11 | 0.11 | -0.25 | 0.4 | -0.21 | 0.23 | -0.07 | 0.23 | -0.2 | 0.05 | -0.19 | 0.03 | 0.34 | 0.27 | -0.51 | 0.29 | -0.13 | 0.1 | -0.14 | 0.14
1215-1230 | 0.01 | -0.62 | -0.69 | -0.3 | 0.45 | 0.03 | 0.76 | 0.22 | 0.23 | 0.08 | 0.17 | 0.35 | -0.01 | -0.18 | 0.48 | 0.04 | 0.41 | -0.43 | 0.13 | -0.17 | 0.04 | -0.21 | 0.03 | 0.54 | 0.45 | -0.42 | 0.39 | -0.11 | 0.27 | 0.03 | 0.74
1230-1245 | -0.17 | -0.63 | -0.82 | -0.34 | -0.07 | 0 | 0.8 | -0.4 | -0.45 | -0.04 | 0.22 | 0.9 | -0.2 | -0.02 | 0.46 | 0.24 | 0.26 | -0.67 | -0.3 | -0.19 | -0.06 | -0.37 | 0.01 | 0.33 | -0.31 | -0.43 | 0.06 | -0.07 | 0.28 | 0.15 | 0.73
1245-1300 | -0.23 | -0.79 | -0.95 | -0.36 | -0.26 | -0.21 | 0.64 | 0.26 | -0.74 | -0.11 | 0.41 | 0.16 | -0.22 | -0.17 | 0.21 | 0.4 | 0.33 | -0.64 | -0.72 | -0.23 | -0.06 | -0.81 | -0.29 | 0.51 | -0.39 | -0.3 | 0.15 | -0.03 | 0.24 | 0.33 | 0.27
1300-1315 | -0.78 | -0.81 | -1.02 | -0.46 | -0.12 | -0.63 | 0.5 | 0.44 | -0.28 | 0.05 | 0.72 | -0.79 | -0.23 | -0.47 | 0.18 | 0.11 | 0.12 | -0.93 | -1.05 | -0.19 | 0 | -1.17 | -1.46 | 0.37 | -0.35 | -0.27 | 0.13 | 0.23 | 0.17 | 0.02 | -0.13
1315-1330 | -0.85 | -0.61 | -1.26 | -0.24 | 0.14 | -0.39 | 0.65 | 0.52 | 0.1 | 0.69 | 0.14 | -0.56 | -0.26 | 0.25 | -0.03 | 0.21 | 0.21 | -0.7 | -0.77 | 0.27 | 0.33 | 0.38 | -0.63 | 0.63 | -0.11 | 0.16 | 0.47 | 0.46 | 0.56 | 0.05 | -0.19
1330-1345 | -0.71 | -0.6 | -1.38 | -0.1 | 0.17 | -0.6 | 0.59 | 0.56 | 0.86 | 0.18 | 0.75 | -0.11 | -0.14 | 0.42 | 0.18 | 0.42 | 0.32 | -0.26 | -0.45 | 0.32 | 0.48 | 0.75 | 0.2 | 0.35 | 0.29 | 0.63 | 0.54 | 0.08 | 0.57 | 0.64 | 0.06
1345-1400 | 0.02 | -0.18 | -1.37 | 0.08 | -0.23 | 0.06 | 0.47 | -0.43 | 1.19 | 0.28 | 0.24 | 0.22 | 0.13 | 0.14 | 0.38 | 0.45 | 0.3 | -0.59 | -0.26 | -0.51 | 0.19 | -0.59 | 0.04 | 0.28 | 0.42 | 0.69 | 0.52 | -0.15 | 0.13 | 0.08 | 0.24
1400-1415 | 0.13 | 0 | -1.41 | 0.17 | -0.6 | -0.31 | 0.16 | -0.24 | 1.14 | -1.1 | -0.3 | -0.35 | 0.1 | -0.81 | 0.41 | 0.49 | -0.12 | -1.02 | 0.24 | -0.08 | 0.17 | -0.25 | 0.26 | 0.45 | -0.23 | 0.04 | 0.29 | 0.03 | -0.15 | 0.09 | -0.41
1415-1430 | 0.25 | 0.01 | -1.33 | -0.37 | -0.2 | 0.06 | 0.25 | 0.23 | 1.17 | -0.52 | -0.01 | -0.58 | 0.33 | -0.58 | -0.02 | 0.35 | -0.28 | -0.57 | 0.19 | 0.09 | 0.4 | 0.44 | 0.37 | -0.03 | -0.07 | -0.04 | 0.33 | 0.24 | 0.16 | -0.41 | -0.29
1430-1445 | 0.29 | -0.22 | -1.08 | -0.31 | -0.03 | -0.17 | 0.51 | 0.47 | 1.04 | 0.08 | 0.22 | -0.65 | 0.13 | 0.21 | -0.18 | 0.42 | -0.15 | -0.39 | 0.19 | -0.25 | 0.26 | -0.03 | -0.22 | -0.3 | 0.23 | 0.17 | 0.01 | 0.12 | 0.34 | -0.67 | -0.17
1445-1500 | 0.24 | -0.22 | -0.93 | 0.25 | -0.23 | -0.24 | 0.6 | 0.21 | 1.13 | -0.15 | 0.38 | -0.54 | 0.22 | 0.32 | -0.15 | 0.84 | 0.02 | -0.19 | 0.43 | 0.41 | -0.46 | 0.14 | 0.49 | -0.55 | -0.02 | -0.34 | 0.14 | -0.24 | 0.34 | -0.29 | -0.1
1500-1515 | -0.2 | -0.35 | -0.8 | -0.47 | -0.17 | 0.18 | 0.59 | 0.83 | 1.08 | 0.3 | 0.11 | -0.3 | 0.18 | 0.3 | -0.28 | 0.22 | 0.04 | -0.03 | -0.65 | 0.18 | 0.14 | 0.57 | 0.3 | -0.57 | 0.32 | -0.33 | 0.16 | 0.01 | 0.12 | -0.08 | -0.1
1515-1530 | 0.22 | -0.21 | -0.62 | -0.43 | 0.12 | 0.48 | 0.61 | 0.36 | 1.27 | 0.07 | -0.16 | -0.5 | 0.03 | 0.31 | -0.14 | 0.2 | 0.16 | -0.04 | -0.84 | 0 | 0.15 | 0.1 | -0.38 | -0.06 | 0.41 | -0.28 | 0.2 | -0.59 | -0.09 | 0.2 | -0.25
1530-1545 | 0.14 | 0.11 | -0.59 | -0.23 | 0.23 | 0.14 | 0.67 | 0.12 | 1.45 | -0.25 | -0.02 | -0.19 | -0.19 | 0.42 | -0.2 | 0.09 | -0.39 | -0.02 | -0.76 | 0.51 | 0.13 | 0.53 | 0.36 | 0.06 | 0.42 | -0.13 | 0.21 | -0.64 | 0.21 | 0.44 | -0.29
1545-1600 | -0.28 | 0.31 | -0.39 | -0.17 | -0.31 | -0.32 | 0.71 | -0.32 | 1.07 | -0.31 | -0.15 | -0.35 | -0.34 | 0.19 | -0.09 | 0.09 | -0.08 | -0.02 | -0.44 | 0.21 | -0.21 | 0.08 | -0.65 | 0.29 | 0.3 | -0.05 | 0.19 | -0.02 | 0.3 | -0.02 | -0.38
1600-1615 | -0.29 | 0.55 | -0.52 | -0.25 | -0.51 | -0.62 | 0.23 | 0.81 | 0.92 | -0.42 | -0.26 | -0.28 | -0.28 | 0.11 | 0.16 | -0.02 | 0.19 | 0.68 | -0.4 | 0.29 | 0.6 | 0.6 | -1.07 | 0.22 | 0.08 | -0.08 | 0.48 | 0.37 | 0.3 | 0.56 | -0.62
1615-1630 | -0.43 | 0.5 | -0.38 | -0.08 | 0.04 | -0.57 | 0.13 | 0.81 | 1.09 | -0.49 | -0.7 | -0.66 | -0.34 | -0.03 | 0 | -0.23 | 0.2 | 0.95 | -0.35 | 0.34 | 0.27 | 0.26 | -0.23 | -0.04 | 0.2 | -0.01 | -0.09 | 0.09 | 0.07 | 0.26 | -0.97
1630-1645 | -0.34 | 0.41 | -0.41 | 0.46 | 0.41 | -0.17 | 0.18 | 0.89 | 1.07 | -0.42 | -1.01 | -0.93 | -0.59 | 0.02 | -0.39 | -0.2 | 0.1 | 0.65 | -0.19 | 0.29 | 0.11 | 0.32 | 0.17 | 0.04 | 0.12 | 0.04 | 0.03 | 0.44 | 0.13 | -0.46 | -1.03
1645-1700 | -0.23 | 0.33 | -0.42 | 0.32 | 0.44 | 0.27 | 0.25 | -0.3 | 0.91 | 0.21 | -0.68 | -1.17 | -0.35 | 0.02 | -0.48 | -0.16 | -0.05 | -0.08 | -0.19 | -0.12 | 0.44 | 0.49 | 0.02 | 0.18 | -0.06 | -0.15 | 0.11 | 0.19 | 0.09 | 0.42 | -0.77
1700-1715 | 0.06 | -0.11 | -0.45 | 0.2 | -0.03 | 0.19 | 0.18 | -0.82 | 1.14 | 0.42 | -0.1 | -0.97 | -0.13 | -0.61 | -0.55 | 0.39 | -0.08 | 0.18 | 0.2 | 0.12 | 0.41 | 0.26 | -0.2 | 0.21 | 0.18 | 0.09 | 0.48 | 0.43 | 0.08 | 0.51 | -0.33
1715-1730 | 0.32 | 0.3 | -0.3 | 0.54 | -0.24 | -0.64 | 0.24 | -0.71 | 1.03 | 0.45 | -0.26 | -0.87 | -0.13 | -0.42 | -0.42 | -0.26 | -0.04 | 0.14 | 0.13 | 0.06 | 0.11 | 0.17 | -0.27 | 0.24 | 0.23 | 0.09 | 0.49 | 0.58 | 0.37 | 0.31 | -0.15
1730-1745 | 0.3 | 0.34 | -0.19 | 0.09 | -0.27 | -0.86 | 0.36 | -0.36 | 1.57 | -0.8 | -0.56 | -1.59 | -0.05 | -0.69 | -0.31 | 0 | 0.28 | 0.12 | 0.07 | -1.2 | 0.06 | -0.19 | -0.6 | 0.28 | 0.27 | 0.01 | 0.29 | 0.02 | 0.6 | 0.4 | -0.32
1745-1800 | 0.13 | 0.41 | -0.58 | 0.04 | -0.54 | -0.52 | 0.29 | -0.29 | 1.69 | -0.47 | -1.04 | -1.33 | -0.27 | -0.99 | -0.36 | -0.04 | 0.55 | 0.06 | -0.04 | -1.52 | -0.09 | 0.07 | -0.22 | 0.3 | 0.35 | 0.2 | 0.46 | -0.14 | 0.76 | 0.6 | -0.02
1800-1815 | -0.22 | 0.22 | -0.47 | -0.29 | 0.05 | -0.17 | -0.03 | -0.01 | 0.37 | -1.3 | -1.93 | -1.38 | -0.76 | -1.14 | -0.57 | -0.18 | 0.74 | -0.34 | -0.96 | -1.12 | -0.51 | 0.51 | 0.35 | -0.29 | -0.33 | 0.51 | 1.05 | -0.99 | 0.78 | 0.63 | 0.73
1815-1830 | -0.52 | -0.29 | -0.9 | -0.3 | -0.18 | -0.39 | -0.21 | 0.13 | 0.36 | -0.54 | -1.85 | -1.15 | -0.91 | -0.67 | -0.83 | -0.2 | 0.65 | -0.42 | -0.64 | -0.52 | -0.55 | 0.05 | 0.52 | -0.47 | -0.46 | 0.25 | 0.57 | -0.44 | 0.6 | 0.27 | 0.63
1830-1845 | -0.44 | -0.45 | -0.81 | -0.1 | -0.47 | -0.5 | -0.06 | 0.27 | 0.82 | -0.19 | -1.42 | 0.12 | -0.07 | 0.26 | -0.65 | -0.23 | 0.51 | -0.48 | -0.4 | -0.28 | -0.08 | -0.06 | 0.2 | -0.71 | -0.29 | -0.07 | -0.65 | -0.29 | 0.24 | 0.2 | 0.23
1845-1900 | -0.18 | -0.45 | -0.14 | -0.03 | -0.64 | -0.1 | 0.46 | -0.44 | 0.58 | 0.08 | -0.33 | -0.07 | 0 | 0.35 | -0.93 | -0.47 | 0.33 | -0.7 | -0.51 | -0.24 | 0.25 | -0.2 | -0.18 | -0.6 | -0.01 | -0.36 | -0.7 | -0.24 | -0.08 | 0.03 | -1.01
1900-1915 | 0.21 | -0.76 | 0.75 | 0.18 | -0.5 | 0.3 | 0.18 | -1.25 | 0.02 | -1.2 | -2.02 | -0.91 | 0.44 | -0.14 | -0.97 | -0.13 | 0.09 | -1.24 | -1.09 | 0.49 | 0 | 0.02 | -0.94 | -0.64 | -0.69 | -0.66 | -0.83 | -0.39 | -0.5 | -0.56 | -0.45
1915-1930 | 0.3 | 0.07 | 0.85 | 0.13 | 0.15 | 0.47 | 0.18 | -0.34 | 0.49 | -0.13 | -0.66 | -1.41 | -0.23 | 0.52 | -0.76 | 0.12 | -0.05 | -0.68 | -1.29 | 0.1 | -0.89 | 0.47 | -0.77 | 0.46 | -1.41 | -0.22 | -0.48 | -0.59 | -0.45 | 0.24 | 0.17
1930-1945 | -0.14 | 1.36 | -0.4 | -0.34 | -0.1 | 0.03 | 0.48 | 0.06 | 1.46 | 0.47 | 1.29 | -0.43 | -0.49 | -0.84 | -0.5 | 0.35 | 0.02 | -0.06 | -0.83 | -0.24 | -1.41 | 0.24 | -0.97 | 0.56 | -1.31 | 0.05 | 0.12 | -0.5 | -0.31 | 0.9 | -0.48
1945-2000 | -0.44 | 0.19 | -0.15 | -0.32 | -0.43 | 0.6 | 0.16 | 0.16 | 1.84 | 0.41 | 1.04 | -0.25 | -0.31 | -1.19 | -0.11 | 0.47 | 0.3 | -0.38 | -0.24 | 0.11 | -0.57 | -0.2 | -0.44 | 1.02 | -0.28 | 0.34 | 0.72 | -0.64 | 0.34 | 0.79 | -0.7
2000-2015 | -0.4 | -0.57 | 0.59 | -0.46 | -0.13 | 0.93 | -0.22 | -0.62 | 0.86 | 0.13 | 0.67 | -0.74 | 0.01 | -0.2 | -0.35 | 0.2 | 0.31 | -0.35 | -0.47 | 0.12 | 0.02 | -0.51 | -0.6 | 0.82 | 0.19 | 0.04 | 0.42 | -0.36 | 0.66 | 0.53 | -0.23
2015-2030 | -0.32 | -0.44 | 0.64 | -0.26 | -0.07 | 0.5 | -0.08 | -0.51 | 0.7 | 0.14 | -0.27 | -0.56 | -0.07 | 0.16 | -0.69 | -0.03 | 0.45 | -0.39 | -0.76 | 0.18 | 0.1 | 0.06 | -0.6 | 0.41 | -0.06 | 0.5 | -0.17 | -0.19 | 0.45 | 0.51 | -0.13
2030-2045 | -0.24 | -0.74 | 0.59 | 0.24 | -0.22 | 0.33 | 0.2 | -0.08 | 1.05 | 0.27 | -0.68 | -0.67 | -0.17 | -0.09 | -0.76 | 0.2 | 0.25 | -0.35 | -1.15 | -0.07 | -0.24 | 0.21 | -0.48 | -0.31 | -0.16 | 0.42 | -0.44 | -0.2 | 0.25 | 0.47 | 0.02
2045-2100 | -0.44 | -0.92 | 0.81 | 0.23 | -0.36 | 0.23 | 0.05 | 0 | 0.96 | 0.58 | -0.86 | -0.79 | -0.19 | -0.62 | -0.96 | 0.2 | 0.14 | -0.52 | -1.35 | -0.15 | -0.42 | 0.28 | -0.57 | -0.33 | -0.13 | 0.22 | -0.43 | -0.04 | 0.25 | 0.41 | 0.1
2100-2115 | -0.46 | -0.49 | 1.04 | -0.22 | -0.39 | 0.19 | 0.42 | -0.1 | 0.71 | 0.46 | -0.74 | -0.41 | -0.21 | -0.6 | -0.99 | -0.33 | 0.08 | -0.4 | -1.07 | -1.12 | -0.41 | 0.28 | -0.35 | -0.29 | -0.18 | -0.08 | -0.07 | -0.7 | 0.13 | 0.31 | 0.18
2115-2130 | -0.44 | -0.32 | 0.06 | -0.74 | -0.28 | 0.21 | 0.44 | -0.41 | 0.72 | 0.1 | -0.41 | -0.43 | -0.22 | -0.58 | -0.99 | -0.3 | -0.18 | -0.43 | -1.26 | -1.11 | -0.24 | -0.02 | -0.55 | -0.44 | -0.34 | -0.26 | -0.06 | -0.02 | -0.08 | 0.2 | 0
2130-2145 | -0.05 | -0.12 | 0.41 | -0.52 | 0.01 | -0.11 | -0.35 | -0.34 | 1.02 | 0.07 | -0.74 | -0.8 | -0.42 | -0.34 | -0.82 | 0.07 | -0.47 | -0.29 | -0.73 | 0.01 | -0.17 | -0.18 | -0.62 | -0.21 | -0.78 | 0.02 | -0.08 | 0.33 | 0.18 | 1.06 | -0.49
2145-2200 | 0.11 | -0.39 | 0.4 | -0.35 | -0.57 | -0.42 | -0.47 | -0.32 | 1.43 | 0.25 | -0.57 | -0.61 | -0.47 | 0.04 | -0.73 | -0.12 | -0.41 | -0.05 | -0.48 | 0.37 | -0.25 | 0.03 | -0.67 | 0.25 | 0.12 | 0.12 | -0.15 | 0.27 | 0.02 | 0.8 | -0.74
2200-2215 | 0.65 | -0.61 | 0.49 | -0.43 | -0.24 | -0.25 | 0.45 | -1.19 | 1.43 | 0.47 | -0.73 | -0.28 | -0.24 | 0.01 | -0.25 | 0.14 | -0.26 | 0.25 | -0.01 | 0.27 | -0.15 | 0.22 | -0.51 | 0.16 | -0.74 | -0.05 | -0.36 | 0.13 | -0.64 | 0.82 | -0.71
2215-2230 | 0.33 | -0.61 | -0.11 | -0.46 | -0.56 | -0.54 | 0.29 | -0.48 | 0.63 | 0.57 | -0.35 | -0.09 | 0.03 | 0.16 | -0.21 | 0 | 0.19 | 0.03 | -1.16 | 0.09 | -0.38 | -0.17 | -0.67 | -0.44 | -0.9 | 0.11 | -0.47 | -0.54 | 0.06 | 0.39 | -0.1
2230-2245 | 0.02 | -1.02 | -1.4 | -1.28 | -0.08 | -0.45 | 0.59 | 0.03 | 0.68 | 0.38 | -0.05 | 0.07 | 0.04 | -0.01 | -0.39 | 0.25 | 0.37 | -0.32 | -0.68 | 0.1 | -0.48 | -0.32 | -0.6 | -0.68 | -0.69 | -0.12 | -0.39 | -0.58 | 0.1 | 0.02 | 0.08
2245-2300 | 0.08 | -0.75 | -1.32 | -1.14 | 0.17 | 0 | 0.05 | -0.84 | 1.33 | 0.28 | -0.46 | -0.49 | 0.17 | 0 | -0.15 | -0.32 | 0.22 | -0.2 | -0.75 | -0.05 | -0.36 | -0.4 | -0.09 | -0.76 | -0.26 | -0.21 | -0.13 | -0.51 | 0.16 | 0.09 | 0.03
2300-2315 | 0.25 | -1.1 | -0.08 | -0.98 | -1.3 | -0.41 | 0.74 | 0.13 | -0.48 | 0.08 | 0.29 | -0.06 | 0.16 | -0.15 | -0.44 | -0.33 | 0.44 | -0.18 | -0.92 | -0.39 | -0.37 | -0.48 | -0.26 | -0.36 | -0.43 | -0.16 | -0.42 | 0.11 | 0.61 | 0.32 | 0.01
2315-2330 | -0.01 | -0.7 | -0.8 | -0.56 | -0.29 | -0.43 | 0.95 | -0.05 | -1.36 | 0.14 | 0.27 | -0.64 | -0.12 | 0.01 | -0.42 | -0.19 | 0.59 | -0.3 | -0.44 | -0.36 | 0.06 | -0.61 | -0.28 | -0.28 | -0.39 | 0.02 | -0.33 | 0.19 | 0.44 | 0.17 | -0.52
2330-2345 | -0.07 | -0.3 | -1.44 | -0.49 | -0.35 | -0.13 | 0.45 | -0.21 | -0.72 | 0.34 | -0.23 | -1.05 | -0.35 | 0.01 | -0.64 | -0.46 | 0.33 | -0.33 | -0.3 | -0.45 | 0.11 | -0.79 | -0.43 | -0.21 | -0.25 | 0 | 0.32 | 0.09 | 0.64 | -0.28 | -1.22
2345-2400 | -0.13 | -0.57 | -1.16 | -1.02 | -0.47 | -0.56 | -0.42 | 0.18 | -0.93 | 0.62 | 0.01 | -0.9 | -0.36 | -0.02 | -0.7 | -0.5 | 0.16 | -0.46 | -0.6 | -0.59 | 0.1 | -1.01 | -0.53 | -0.16 | -0.69 | -0.14 | 0.36 | -0.04 | 0.44 | -0.36 | -1.83
Total Units (Lus) | -17.24 | -22 | -30.52 | -27.32 | -12.57 | -10.12 | 19.57 | -1.28 | 27.1 | -5 | -43.26 | -36.47 | -20.89 | -19.52 | -27.43 | -25.98 | 7.46 | -25.69 | -37.57 | -40.5 | -4.63 | -2.78 | -14.87 | -8.9 | -10.74 | -11.7 | 10.82 | -3.6 | 5.58 | 22.75 | 11.53
Devi.Amount | -25.8356 | -39.6662 | -68.4465 | -105.7724 | -50.9489 | -26.3352 | 66.7519 | -12.6252 | 74.6222 | -13.1535 | -34.5048 | -66.7357 | -36.7478 | -17.1123 | -39.232 | -19.2715 | 13.6846 | -45.6941 | -84.7835 | -41.7109 | -17.6326 | 6.403 | -24.3989 | -19.6454 | -38.8469 | -34.7175 | 28.9941 | -28.4686 | 7.6724 | 41.9039 | 24.5289
Adl Amount | -28.4405 | -44.6254 | -77.3594 | -103.6876 | -47.1284 | -24.4432 | 71.59 | -10.765 | 74.5287 | -12.2432 | -30.7051 | -56.509 | -36.2855 | -19.974 | -42.9971 | -19.0836 | 13.7034 | -46.564 | -87.2925 | -41.4842 | -10.2559 | 7.889 | -21.1908 | -16.0867 | -29.5541 | -33.7923 | 28.6571 | -28.7123 | 7.4378 | 42.3855 | 23.9655
Devi Cap | -14.0769 | -18.212 | -13.3495 | -57.7287 | -34.3237 | -7.4064 | 68.6073 | 1.0458 | 86.099 | 1.8007 | -6.3399 | -38.9282 | -24.3758 | -2.9832 | -23.628 | -7.6305 | 14.0167 | -32.2807 | -44.3034 | -21.8337 | -7.6309 | 10.686 | -13.125 | -12.5888 | -18.6543 | -26.5259 | 32.7811 | -11.1823 | 17.9463 | 44.2773 | 27.5378
Diff.Devi Cap | 11.7586 | 21.4542 | 55.097 | 48.0437 | 16.6252 | 18.9288 | 1.8554 | 13.671 | 11.4767 | 14.9542 | 28.1649 | 27.8075 | 12.372 | 14.1291 | 15.604 | 11.6409 | 0.33207 | 13.4133 | 40.48 | 19.8773 | 10.0017 | 4.2831 | 11.2739 | 7.0566 | 20.1926 | 8.1916 | 3.787 | 17.2863 | 10.2739 | 2.3734 | 3.0089
Add Devi | 3.3514 | 4.0968 | 10.1965 | 0.29954 | 1.0054 | 12.2766 | 11.7297 | 6.7609 | 45.5127 | 7.8108 | 6.2578 | 4.2946 | 5.3267 | 2.4021 | 0.22935 | 1.0545 | 1.0872 | 2.4646 | 3.1936 | 4.6685 | 0.27227 | 2.358 | 0.38313 | 5.7908 | 1.7734 | 0.68689 | 2.544 | 4.0359 | 1.6592 | 6.5132 | 18.2244
Net Charges. | -13.3305 | -19.0744 | -12.0659 | -55.3443 | -29.4978 | 6.7622 | 85.175 | 9.6669 | 131.5181 | 10.5219 | 3.7176 | -24.4069 | -18.5868 | -3.4428 | -27.1637 | -6.3882 | 15.1227 | -30.6861 | -43.6189 | -16.9384 | 0.01802 | 14.5301 | -9.5338 | -3.2392 | -7.5881 | -24.9138 | 34.9881 | -7.3901 | 19.3709 | 51.2721 | 45.1988
Note:- This information is Based On Northern Regional Power Committee Deviation Settlement Account

## Load Shed
Time Block Wise Load Shedding carried out, if any, along with the reasons for the same
Time Block Wise Load Shedding in MW
Load Shedding MW | [25 empty] | Format-3M
Hours | [25 empty] | Month: May-15
Time Block | 00:00-01:00 | 01:00-02:00 | 02:00-03:00 | 03:00-04:00 | 04:00-05:00 | 05:00-06:00 | 06:00-07:00 | 07:00-08:00 | 08:00-09:00 | 09:00-10:00 | 10:00-11:00 | 11:00-12:00 | 12:00-13:00 | 13:00-14:00 | 14:00-15:00 | 15:00-16:00 | 16:00-17:00 | 17:00-18:00 | 18:00-19:00 | 19:00-20:00 | 20:00-21:00 | 21:00-22:00 | 22:00-23:00 | 23:00-24:00 | Total (MWhr) | Total (Lus)
Date | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW | MW
2015-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-07 | 0 | 0 | 0 | 51 | 151 | 0 | 0 | 0 | 0 | 100 | 51 | 0 | 0 | 66 | 131 | 65 | 50 | 151 | 0 | 261 | 0 | 50 | 231 | 565 | 1923 | 19.23
2015-05-08 | 558 | 1059 | 468 | 269 | 51 | 0 | 0 | 0 | 100 | 183 | 106 | 0 | 231 | 420 | 376 | 885 | 382 | 51 | 0 | 0 | 0 | 0 | 100 | 261 | 5500 | 55
2015-05-09 | 204 | 65 | 206 | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 651 | 6.51
2015-05-10 | 216 | 193 | 65 | 0 | 0 | 50 | 0 | 0 | 102 | 76 | 0 | 0 | 0 | 139 | 0 | 184 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1078 | 10.78
2015-05-11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 207 | 425 | 181 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 917 | 9.17
2015-05-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 159 | 1.59
2015-05-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015-05-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 978 | 1317 | 739 | 496 | 202 | 50 | 0 | 0 | 202 | 359 | 157 | 0 | 231 | 729 | 820 | 1612 | 666 | 202 | 0 | 261 | 0 | 50 | 331 | 826 | 10228 | 102.28

## STP Comparison
Monthly Date wise and source wise, power Purchase Plan versus Actual power
Purchase done with reasons for variations in quantum and cost.
Format-4M
Date Wise & Source-Wise Short Term Power Purchase Plan Vs Actual Power Purchased | [9 empty] | 2015-05-01
| IEX |  |  |  |  | PXIL
Dates | Planned |  | Actual |  |  | Planned |  | Actual
| Energy ( LUs) | Cost (Rs.) | Energy ( LUs) | Cost (Rs.) | Reasons for variation | Energy ( LUs) | Cost (Rs.) | Energy ( LUs) | Cost (Rs.) | Reasons for variation
2015-05-01 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | Reason for deviation of Actual Quantum Received along with the cost from planned STP is primarly because of Non Clearance of Bid in Power Exchanges.
2015-05-02 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-03 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-04 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-05 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-06 | 24 | 0.48 | 2.09 | 0.035 |  | 0 | 0 | 0 | 0
2015-05-07 | 24 | 0.48 | 3.02 | 0.052 |  | 0 | 0 | 0 | 0
2015-05-08 | 120 | 3.35 | 80.84 | 2.18 |  | 0 | 0 | 0 | 0
2015-05-09 | 120 | 3.37 | 120 | 2.26 |  | 0 | 0 | 0 | 0
2015-05-10 | 168 | 3.25 | 119.4 | 2.16 |  | 0 | 0 | 0 | 0
2015-05-11 | 168 | 4.63 | 106.4 | 2.51 |  | 0 | 0 | 0 | 0
2015-05-12 | 72 | 1.91 | 71.6 | 1.52 |  | 0 | 0 | 0 | 0
2015-05-13 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-14 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-15 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-16 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-17 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-18 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-19 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-20 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-21 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-22 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-23 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-24 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-25 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-26 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-27 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-28 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-29 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-30 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
2015-05-31 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Total | 696 | 17.47 | 503.35 | 10.717 | 0 | 0 | 0 | 0 | 0